## Slide 1: Gas Mitigation Program Residents out of homes 406 days—1 year, 1 month, 9 days
September 12, 2013

## Slide 2: Gas Mitigation Program
Control shallow gas above the MRAA with dual-phase vapor extraction
Remove gas from MRAA using similar gas/water extraction

## Slide 3: Respec Dual-Phase Vapor Extraction (DPVE) Pilot Test
Pilot test ran for a total of 219 hours.
DPVE test was shut down at 14:00 on September 6, 2013.
Total methane removed = 6.9 pounds per hour methane or ~4,000 scfd
Bubbles started to reappear at NSDBS-026 within 90 minutes of shut down.

## Slide 4: Dual Phase Vapor Extraction Pilot Test
September 6
12:45
1 hour prior to shut down
Wednesday August 28, 2013
07:30 AM
3 hours prior to startup
PRIOR TO START UP
September 10, 2013
4 days after shutdown
Compressor
Forty horsepower oil-sealed dual phase liquid ring pump
Very successful test conducted by Respec!

## Slide 5: Dual-Phase Vapor Extraction System
MRAA Aquifer
Clay Aquitard
Gas
Slab-on-grade
Crawl space
DPVE System
Fine-grained sand

## Slide 6: Trailer Mounted DPVE Unit